## Slide 1: Optimizing Scanning Filters For Color Balanced Multispectral Image Recovery
Dinesh Baniya
PSYCH – 221
June 7, 2010

## Slide 2: Outline
Motivation
Techniques to estimate Spectra
Wiener Method
Physically Realizable Sensors
Gaussian Sensors
Optimization Procedure
Results
Summary

## Slide 3: Motivation
Multispectral imaging systems require filters/sensors
How to choose optimum sensors?
  Simulate spectral sensitivity of sensors and their response to spectral information
  Add noise, and try to recover the SPD curves from noise-influenced sensor data
  If computational models simulate real world phenomena accurately enough, the information will help build an accurate multispectral system

## Slide 4: Techniques to Estimate Spectra
Various algorithms allow estimation of spectral information from sensor responses
  Maloney–Wandell method
  Imai–Berns method
  Shi–Healey method
  Wiener method
These methods are based on a priori knowledge of spectra to be recovered

## Slide 5: Wiener Method
Given a multispectral image (x)
y = Ax + n
  A = Illuminant SPD * Sensor SPD
  n = Photon noise
Estimated spectra (x’)
x’ = W * y
  W = (Rxx * AT) * (A * Rxx * AT + VN)-1
  Rxx = Autocorrelation of (x)
  VN = Variance of noise

## Slide 6: Physically Realizable Sensors
Smooth and nonnegative - Gaussian, Raised Cosines
Sensor SPD limited by Silicon SPD

## Slide 7: Gaussian Sensors
Characterized by mean and standard deviation
Amplitude kept constant
400 nm ≤ μi ≤ 700 nm
1 nm ≤ σi ≤ 100 nm

## Slide 8: Optimization Procedure
Algorithm requires minimization of one cost function
Chose cost function to be ΔEab
  Approximates color differences observed by human eye
Used “fmincon” capability of MATLAB
  Tried 50 different initial conditions, resulting cost function values were within 5% of each other
  Picked filter combination that provided lowest value for cost function

## Slide 9: Illuminant and Original Spectra SPD

## Slide 10
RESULTS

## Slide 11: NikonD100, SNR = 40dB

## Slide 12: NikonD100, SNR = 20dB

## Slide 13: 2 Gaussian Filters, SNR = 40 dB

## Slide 14: 2 Gaussian Filters, SNR = 20 dB

## Slide 15: 3 Gaussian Filters, SNR = 40 dB

## Slide 16: 3 Gaussian Filters, SNR = 20 dB

## Slide 17: 4 Gaussian Filters, SNR = 40 dB

## Slide 18: 4 Gaussian Filters, SNR = 20 dB

## Slide 19: Sensor Comparison
SNR = 40 dB | Mean ΔE | Minimum ΔE | Maximum ΔE
NikonD100 | 1.0844 | 0.1037 | 5.3974
2 Gaussian Filters | 3.2955 | 0.2654 | 16.8706
3 Gaussian Filters | 0.5113 | 0.1429 | 1.2954
4 Gaussian Filters | 0.3819 | 0.05602 | 1.1033
SNR = 20 dB | Mean ΔE | Minimum ΔE | Maximum ΔE
NikonD100 | 4.5254 | 1.1151 | 15.0848
2 Gaussian Filters | 4.1101 | 0.5136 | 17.6832
3 Gaussian Filters | 2.7405 | 0.4282 | 7.8050
4 Gaussian Filters | 2.3601 | 0.5223 | 8.3124

## Slide 20: Summary
Wiener method used to estimate spectra
Gaussian sensors were created and optimized based upon cost function ΔE
Performance of 2,3,4 Gaussian sensors were compared against NikonD100 sensor
Increasing the number of sensors decreased the mean of ΔE when SNR is high
Wiener method fails when SNR is low

## Slide 21: Acknowledgments
Professor Brian Wandell
  Teaching basics of color and vision systems
Dr. Joyce Farrell
  Project Formulation/Counseling
  Multispectral data collection arrangement with Intuitive Surgical
Steven Lansel
  Project guidance
  Multispectral data collection at Intuitive Surgical
  Weekly meetings
  MATLAB help
Jeff DiCarlo
  Contact person at Intuitive Surgical
  Multispectral data collection at Intuitive Surgical

## Slide 22: References
[1] Miguel Lopez-Alvarez, et.al “Selecting algorithms, sensors, and linear bases for optimum spectral recovery of skylight”, JOSAA, Vol. 24, Issue 4, 2007
[2] Miguel Lopez-Alvarez, et.al, “Designing a practical system for spectral imaging of skylight”, Applied Optics, Vol. 44, No. 27, 2005
[3] Manu Parmar and Stanley Reeves, “Optimization of Color Filter Sensitivity Functions for Color Filter Array Based Image Acquisition”, 2006
[4] Poorvi L. Vora and H. Joel Trussell, “Mathematical Methods for the Design of Color Scanning Filters”, IEEE Transactions on Image Processing, Vol. 6, No. 2, 1997

## Slide 23: Q & A
THANK YOU